Yutaka

2 BUSINESS PARKWAY

LUGOFF, SOUTH CAROLINA 29078

| Size: | Approximately 168,000 Square Feet |
| --- | --- |
| Number of Buildings: | One Single Story Industrial Building |  |
| Ground: | Approximately 50 Acres |  |
| Dimensions: | Manufacturing Area – 400’ x 360’ Office – 415’ x 50’ |  |
| Construction: | Floors: Offices- 4” Thickness, Plant Floor – 6” Thickness |  |
|  | Walls: Masonry/Pre-engineered Metal |  |
|  | Roof: Standing Seam Metal with 6” Bat with Barrier Insulation |  |
| Date of Construction: | Built in 1999 with expansions in 2004 and 2006 |  |
| Condition of Property: | Great |  |
| Ceiling Heights: | 33’ at the Crest, 19’ at the South Wall, 25’ at the North Wall |  |
| Column Spacing: | Varies (40’x40’ typically) |  |
| Power: | Fairfield Electric Coop – Three (3) 3,200 amp/480 volt switchgear On-site diesel Olympian D150P1 Generator |  |
| Natural Gas: | 4” In-bound Line Existing |  |
| Water: | Lugoff – Elgin Water District – 12” Line |  |
| Sewer: | Kershaw County Utilities – 8” PVC Line |  |
| Sprinkler System: | Four Risers at 908 Gallons Per Minute Each |  |
| Lighting: | 400 Watt Metal Halides |  |
| Office Facilities: | Approximately 16,500 Square Feet of Office Including Male and Female Restroom, Break Room, Electric Room |  |
| Parking: | Paved Parking for Approximately 213 Parking Spaces |  |
| HVAC: | 100% Air Package Units; Office – 52 Tons, Plant – 640 Tons. 6 Trane Units. |  |
| Truck Loading: | 10 Dock High 9’x10’ Doors with Pit Levelers; 3 Drive in Doors |  |
| Cranes: | Two (2) P&H Ten (10) Ton Cranes with 21’ Clearance Under Hooks |  |
| Compressors: | 2 Air Compressors |  |
| Former Use: | Manufacturing Facility that Supplied a Variety of Components to the Honda Manufacturing facilities. |  |
| Transportation: | .75 Miles to Interstate I-20 Approximately 34 Miles to Columbia Metropolitan Airport |  |
| Zoning: | I-1 |  |